| OCCCF Curriculum | Level 1: N/A Level 2-3: Acute & emergency |
| --- | --- |
| WBA form | DOPS |  | Curriculum code | PI5 / PS17 | Competency assessed | Ultrasonography |

| Learner Name |  |
| --- | --- |
| Assessor Name |  |
| Date |  |

Brief description of case:

| Attitude and manner |  |
| --- | --- |
| Good practice: - Introduces themselves and establish the identity of the patient and any other attendant (e.g. spouse, parent, carer) - They establish a good rapport with the patient which is respectful of any ethnic, religious or social preferences that they express - They ensure that the patient is comfortable and that adequate privacy is maintained | Needs improvement: - Neither introduces themselves nor identifies the patient - They hurry the patient and ignore what the patient is saying - They look away or appear impatient. They are unable to establish rapport with the patient and show little respect - They pay little or no attention to confirmation of patient comfort or privacy - They proceed with the examination without adequate explanation and with little consideration for patient comfort |

| Attitude and manner | Needs development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Introduction and explanation of tests |  |  |  |
| Shows consideration for patient |  |  |  |
| Adopts an appropriate method of communication and develops rapport |  |  |  |

| Ultrasonography |  |
| --- | --- |
| Good practice: - Adjusts the equipment appropriately before use - They explain the test clearly and succinctly and examine the patient in a way that ensures their comfort - They choose the most appropriate method and demonstrate an efficient and fluent technique - When appropriate they can recognise source of error and take steps to account for these - They record and describe their findings accurately - They ensure the equipment is sterilised to prevent cross infection | Poor practice: - Struggles to explain the test to patients clearly - They are unable to adjust the equipment appropriately and appear unfamiliar with it - They fail to ensure that the patient is comfortable or appropriately positioned - They fail to understand and empathise with the patient - They miss sources of potential error altogether and/or fail to describe them - They do not record results accurately and appear unaware of sterility protocol for the equipment |

| LEVEL 2 | Needs development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Care for ultrasonography equipment and know how to prevent cross infection. |  |  |  |
| Calibrate the equipment and record the findings. |  |  |  |
| Take consent for the investigation using an appropriate method. |  |  |  |
| Perform the investigation safely using a variety of techniques and in a range of situations. |  |  |  |
| Understand the various settings on the device and select the appropriate ones to use. |  |  |  |
| Recognise errors in the results, their sources, how to correct them, and when the test needs to be repeated. |  |  |  |
| Record the results accurately. |  |  |  |
| Know the indications for ultrasonography. |  |  |  |
| Explain the benefits and limitations of a variety of techniques. |  |  |  |
| Select the most appropriate technique. |  |  |  |
| Recognise when further investigations may be required, and which to request or perform. |  |  |  |

| LEVEL 3 | Needs development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Interpret, explain and act on the results of ultrasonography. |  |  |  |
| Understand how the results may impact on or be used with the results of other investigations. |  |  |  |
| Perform a basic ultrasound examination of the eye and orbit and employ a systematic method. |  |  |  |
| Understand the basic principles and limitations of its use. |  |  |  |
| Teach and supervise a less experienced eye care worker to become competent in performing one technique. |  |  |  |

Overall Performance:

| OCCCF Level | Needs Development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Level 1 |  |  |  |
| Level 2 |  |  |  |
| Level 3 |  |  |  |

Comments:

Please write and discuss areas of good performance and areas in which skills could be improved.

| Strengths | Areas for improvement |
| --- | --- |

Signature of assessor………………………………………………………………………………….

Signature of trainee…………………………………………………………………………………….

Date………………………………………………………………………………………………………………