| OCCCF Curriculum | Level 1-3: Cataract |
| --- | --- |
| WBA form | DOPS |  | Curriculum code | PS25 | Competency assessed | Biometry skills |

| Learner Name |  |
| --- | --- |
| Assessor Name |  |
| Date |  |

Brief description of case:

| Attitude and manner |  |
| --- | --- |
| Good practice: - Introduces themselves and establish the identity of the patient and any other attendant (e.g. spouse, parent, carer) - They establish a good rapport with the patient which is respectful of any ethnic, religious or social preferences that they express - They ensure that the patient is comfortable and that adequate privacy is maintained | Needs improvement: - Neither introduces themselves nor identifies the patient - They hurry the patient and ignore what the patient is saying - They look away or appear impatient. They are unable to establish rapport with the patient and show little respect - They pay little or no attention to confirmation of patient comfort or privacy - They proceed with the examination without adequate explanation and with little consideration for patient comfort |

| Attitude and manner | Needs development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Introduction and explanation of tests |  |  |  |
| Shows consideration for patient |  |  |  |
| Adopts an appropriate method of communication and develops rapport |  |  |  |

| Biometry skills |  |
| --- | --- |
| Good practice: - Adjusts the equipment appropriately before use - They explain the test clearly and succinctly and examine the patient in a way that ensures their comfort - They choose the most appropriate method and demonstrate an efficient and fluent technique - When appropriate they can recognise source of error and take steps to account for these - They record and describe their findings accurately - They ensure the equipment is sterilised to prevent cross infection | Poor practice: - Struggles to explain the test to patients clearly - They are unable to adjust the equipment appropriately and appear unfamiliar with it - They fail to ensure that the patient is comfortable or appropriately positioned - They fail to understand and empathise with the patient - They miss sources of potential error altogether and/or fail to describe them - They do not record results accurately and appear unaware of sterility protocol for the equipment |

| LEVEL 1 | Needs development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Take a history to confirm that a patient is appropriate to be considered for cataract surgery. |  |  |  |
| Take consent for biometry and other investigations relevant to cataract surgery. |  |  |  |
| Use a non-contact biometer, focimeter, keratometer, topographer and A-scan untrasonographer. |  |  |  |
| Calibrate the instruments used. |  |  |  |
| Manipulate gates and cursors to improve the accuracy of readings. |  |  |  |
| Recognise errors in biometry results and identify when the test may need to be repeated. |  |  |  |
| Choose an appropriate formula to calculate the power of the lens to be implanted. |  |  |  |
| R Give correct advice to contact lens wearers about the time interval between last use and biometry. |  |  |  |

| LEVEL 2 | Needs development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Take a history to identify the patient’s visual problems and requirements. |  |  |  |
| Take consent relevant to the investigations performed. |  |  |  |
| Use a contact biometer safely and accurately in a range of situations, with aseptic technique/topical anaesthesia used appropriately if required. |  |  |  |
| Calibrate the instrument used. |  |  |  |
| Recognise when further investigations may be required, and which to request or perform. |  |  |  |
| Use appropriate settings on the biometry device, for example in eyes with silicone oil, posterior staphyloma or aphakia. |  |  |  |
| Adjust calculations and formulae for complex intraocular lens options or combinations, including those addressing astigmatism, presbyopia or aphakia. |  |  |  |
| Perform an audit of 50 consecutive cases in which you have performed biometry, including postoperative refractive outcomes and patient satisfaction. |  |  |  |

| LEVEL 3 | Needs development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Take a targeted visual and refractive history appropriate for patients being considered for cataract surgery. |  |  |  |
| Assess a patient’s visual requirements, and discuss refractive options. |  |  |  |
| Take consent relevant to the investigations performed. |  |  |  |
| Select and perform the most appropriate investigations for the patient’s specific situation. |  |  |  |

Overall Performance:

| OCCCF Level | Needs Development | Competent | Highly Competent |
| --- | --- | --- | --- |
| Level 1 |  |  |  |
| Level 2 |  |  |  |
| Level 3 |  |  |  |

Comments:

Please write and discuss areas of good performance and areas in which skills could be improved.

| Strengths | Areas for improvement |
| --- | --- |

Signature of assessor………………………………………………………………………………….

Signature of trainee…………………………………………………………………………………….

Date……………………………………………………………………………………………………………